## Compound Tracking
Compound Tracking Worksheet: |  |  | Plate #: | Enter Plate Identification Here
(i.e. Ag 1, Ag 2, …)
Cell Lot #: |  | Enter Lot Number
DMSO Lot #: |  | Enter Lot Number |  |  | Name: | Enter Experimenter Name Here
Media Lot #: |  | Enter Lot Number
|  | Name | ID #
Standard: |  | b-estradiol | Enter ID Number |  | Date: | 2012-01-01
(ex. 14-Nov-07)
QC Name: | # 1 | Methoxychlor | Enter ID Number
Test Substance Code: | # 1 | Chemical 1 | Enter ID Number
| # 2 | Chemical 2 | Enter ID Number
Comments:
Plate Pass/Fail Table |  |  | Testing Results Table
Did the plate pass the following acceptance criteria as set by NICEATM? |  |  | Test Substance | Test Substance Dilution (1:2 or 1:5) | Test substance postive in this experiment? (Yes/No) | Recommend Retest for this Substance? (Yes/No) | Why should the substance be retested?
Criterion: | Pass\Fail |  | Chemical 1
DMSO Control |  |  | Chemical 2
Induction
Methoxychlor Control
Experiment
Enter Reviewer Name Here |  |  | 2012-01-01
Reviewer Name |  |  | Date

## RAW DATA
|  |  |  | Test Name: |  | Enter Plate Identification Here |  | Date | 2012-01-01
|  |  |  | Cell Lot #: |  | Enter Lot Number
Microplate Reader |  | PACKARD OPTIPLATE 96 |  |  | No. of Intervals |  |  | 50 | Interval Time [s] |  | 0.3
Layout |  | XDS 96 well (Inside) |  |  | Tot. Meas. Time/Well [s] |  |  | 15 | Start Measurement [s] |  | 0
[5 empty] | Start Injection 1 [s] |  |  | 0 | Start Injection 2 [s] |  | 15
Test Type |  | Well Mode
Reading Direction |  | vertical
[5 empty] | Calculation Range |  | Start |  | 5 |  | Stop | 50
|  |  | E2a | E2b | Mean
|  | Induction: | 3.4179 | 3.0118 | 3.2148
Note: Ensure that Induction is calculated properly for each experiment. See the Agonist Protocol for instructions.
| Table 1 | [8 empty] | Raw Data Table
A | 7794 | 7054 | 5961 | 5825 | 5959 | 5815 | 5373 | 5488 | 5861 | 5489 | 5327 | 5525
B | 8205 | 7153 | 6884 | 6887 | 6534 | 5899 | 5782 | 6387 | 6053 | 5498 | 6059 | 5719
C | 8045 | 7377 | 6722 | 6492 | 6121 | 6196 | 6195 | 5796 | 5873 | 5561 | 6059 | 5685
D | 4253 | 5041 | 6052 | 6101 | 6057 | 5716 | 6095 | 6090 | 6234 | 5903 | 5839 | 5981
E | 4127 | 5174 | 5516 | 5613 | 5747 | 6110 | 5642 | 5773 | 5829 | 6575 | 6222 | 14217
F | 4030 | 5292 | 5920 | 5835 | 5609 | 5597 | 5281 | 5785 | 5864 | 5504 | 5657 | 13748
G | 17286 | 18166 | 19576 | 16967 | 15415 | 11035 | 7842 | 6863 | 5924 | 6212 | 5562 | 14271
H | 15822 | 17813 | 17250 | 14383 | 14383 | 11107 | 9537 | 6568 | 6061 | 5889 | 5354 | 14422
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Table 2 | [8 empty] | Background Subtracted Data
A | 2066.5 | 1326.5 | 233.5 | 97.5 | 231.5 | 87.5 | -354.5 | -239.5 | 133.5 | -238.5 | -400.5 | -202.5
B | 2477.5 | 1425.5 | 1156.5 | 1159.5 | 806.5 | 171.5 | 54.5 | 659.5 | 325.5 | -229.5 | 331.5 | -8.5
C | 2317.5 | 1649.5 | 994.5 | 764.5 | 393.5 | 468.5 | 467.5 | 68.5 | 145.5 | -166.5 | 331.5 | -42.5
D | -1474.5 | -686.5 | 324.5 | 373.5 | 329.5 | -11.5 | 367.5 | 362.5 | 506.5 | 175.5 | 111.5 | 253.5
E | -1600.5 | -553.5 | -211.5 | -114.5 | 19.5 | 382.5 | -85.5 | 45.5 | 101.5 | 847.5 | 494.5 | 8489.5
F | -1697.5 | -435.5 | 192.5 | 107.5 | -118.5 | -130.5 | -446.5 | 57.5 | 136.5 | -223.5 | -70.5 | 8020.5
G | 11558.5 | 12438.5 | 13848.5 | 11239.5 | 9687.5 | 5307.5 | 2114.5 | 1135.5 | 196.5 | 484.5 | -165.5 | 8543.5
H | 10094.5 | 12085.5 | 11522.5 | 8655.5 | 8655.5 | 5379.5 | 3809.5 | 840.5 | 333.5 | 161.5 | -373.5 | 8694.5
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | DMSO | 5727.5 | (average DMSO RLU)
Color Key
Red | Estradiol Curve A (E2a) |  |  |  | Note: Be sure the DMSO blanks are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted in Table 2. |  |  |  |  | DMSO Mean |  | 0
Pink | Estradiol Curve B (E2b) | [8 empty] | DMSO SD |  | 188.9859
Blue | DMSO
Green | Methoxychlor
Black | Chemical 1
Black | Chemical 2

## LIST
Test Name: | Enter Plate Identification Here |  |  | Date: | 2012-01-01
Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results | Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results
A1 | Chemical 1 | 10 | µg/ml |  | 2066.5 | E1 | Chemical 2 | 10 | µg/ml |  | -1600.5
A2 |  | 2 | µg/ml |  | 1326.5 | E2 |  | 2 | µg/ml |  | -553.5
A3 |  | 0.4 | µg/ml |  | 233.5 | E3 |  | 0.4 | µg/ml |  | -211.5
A4 |  | 0.08 | µg/ml |  | 97.5 | E4 |  | 0.08 | µg/ml |  | -114.5
A5 |  | 0.016 | µg/ml |  | 231.5 | E5 |  | 0.016 | µg/ml |  | 19.5
A6 |  | 0.0032 | µg/ml |  | 87.5 | E6 |  | 0.0032 | µg/ml |  | 382.5
A7 |  | 0.00064 | µg/ml |  | -354.5 | E7 |  | 0.00064 | µg/ml |  | -85.5
A8 |  | 0.000128 | µg/ml |  | -239.5 | E8 |  | 0.000128 | µg/ml |  | 45.5
A9 |  | 2.56e-05 | µg/ml |  | 133.5 | E9 |  | 2.56e-05 | µg/ml |  | 101.5
A10 |  | 5.12e-06 | µg/ml |  | -238.5 | E10 |  | 5.12e-06 | µg/ml |  | 847.5
A11 |  | 1.024e-06 | µg/ml |  | -400.5 | E11 |  | 1.024e-06 | µg/ml |  | 494.5
A12 | DMSO control | 0 | µg/ml |  | -202.5 | E12 | Methoxychlor | 313 | µg/ml |  | 8489.5
B1 | Chemical 1 | 10 | µg/ml |  | 2477.5 | F1 | Chemical 2 | 10 | µg/ml |  | -1697.5
B2 |  | 2 | µg/ml |  | 1425.5 | F2 |  | 2 | µg/ml |  | -435.5
B3 |  | 0.4 | µg/ml |  | 1156.5 | F3 |  | 0.4 | µg/ml |  | 192.5
B4 |  | 0.08 | µg/ml |  | 1159.5 | F4 |  | 0.08 | µg/ml |  | 107.5
B5 |  | 0.016 | µg/ml |  | 806.5 | F5 |  | 0.016 | µg/ml |  | -118.5
B6 |  | 0.0032 | µg/ml |  | 171.5 | F6 |  | 0.0032 | µg/ml |  | -130.5
B7 |  | 0.00064 | µg/ml |  | 54.5 | F7 |  | 0.00064 | µg/ml |  | -446.5
B8 |  | 0.000128 | µg/ml |  | 659.5 | F8 |  | 0.000128 | µg/ml |  | 57.5
B9 |  | 2.56e-05 | µg/ml |  | 325.5 | F9 |  | 2.56e-05 | µg/ml |  | 136.5
B10 |  | 5.12e-06 | µg/ml |  | -229.5 | F10 |  | 5.12e-06 | µg/ml |  | -223.5
B11 |  | 1.024e-06 | µg/ml |  | 331.5 | F11 |  | 1.024e-06 | µg/ml |  | -70.5
B12 | DMSO control | 0 | µg/ml |  | -8.5 | F12 | Methoxychlor | 313 | µg/ml |  | 8020.5
C1 | Chemical 1 | 10 | µg/ml |  | 2317.5 | G1 | E2 Replicate 1 | 0.0001 | µg/ml |  | 11558.5
C2 |  | 2 | µg/ml |  | 1649.5 | G2 |  | 5e-05 | µg/ml |  | 12438.5
C3 |  | 0.4 | µg/ml |  | 994.5 | G3 |  | 2.5e-05 | µg/ml |  | 13848.5
C4 |  | 0.08 | µg/ml |  | 764.5 | G4 |  | 1.25e-05 | µg/ml |  | 11239.5
C5 |  | 0.016 | µg/ml |  | 393.5 | G5 |  | 6.25e-06 | µg/ml |  | 9687.5
C6 |  | 0.0032 | µg/ml |  | 468.5 | G6 |  | 3.125e-06 | µg/ml |  | 5307.5
C7 |  | 0.00064 | µg/ml |  | 467.5 | G7 |  | 1.5625e-06 | µg/ml |  | 2114.5
C8 |  | 0.000128 | µg/ml |  | 68.5 | G8 |  | 7.8125e-07 | µg/ml |  | 1135.5
C9 |  | 2.56e-05 | µg/ml |  | 145.5 | G9 |  | 3.9063e-07 | µg/ml |  | 196.5
C10 |  | 5.12e-06 | µg/ml |  | -166.5 | G10 |  | 1.9531e-07 | µg/ml |  | 484.5
C11 |  | 1.024e-06 | µg/ml |  | 331.5 | G11 |  | 9.7656e-08 | µg/ml |  | -165.5
C12 | DMSO control | 0 | µg/ml |  | -42.5 | G12 | Methoxychlor | 313 | µg/ml |  | 8543.5
D1 | Chemical 2 | 10 | µg/ml |  | -1474.5 | H1 | E2 Replicate 2 | 0.0001 | µg/ml |  | 10094.5
D2 |  | 2 | µg/ml |  | -686.5 | H2 |  | 5e-05 | µg/ml |  | 12085.5
D3 |  | 0.4 | µg/ml |  | 324.5 | H3 |  | 2.5e-05 | µg/ml |  | 11522.5
D4 |  | 0.08 | µg/ml |  | 373.5 | H4 |  | 1.25e-05 | µg/ml |  | 8655.5
D5 |  | 0.016 | µg/ml |  | 329.5 | H5 |  | 6.25e-06 | µg/ml |  | 8655.5
D6 |  | 0.0032 | µg/ml |  | -11.5 | H6 |  | 3.125e-06 | µg/ml |  | 5379.5
D7 |  | 0.00064 | µg/ml |  | 367.5 | H7 |  | 1.5625e-06 | µg/ml |  | 3809.5
D8 |  | 0.000128 | µg/ml |  | 362.5 | H8 |  | 7.8125e-07 | µg/ml |  | 840.5
D9 |  | 2.56e-05 | µg/ml |  | 506.5 | H9 |  | 3.9063e-07 | µg/ml |  | 333.5
D10 |  | 5.12e-06 | µg/ml |  | 175.5 | H10 |  | 1.9531e-07 | µg/ml |  | 161.5
D11 |  | 1.024e-06 | µg/ml |  | 111.5 | H11 |  | 9.7656e-08 | µg/ml |  | -373.5
D12 | DMSO Control | 0 | µg/ml |  | 253.5 | H12 | Methoxychlor | 313 | µg/ml |  | 8694.5

## ER Agonist REPORT
Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
E2 Reference Standard | E2 Replicate 1 | E2 Replicate 2 |  | 0.7883 | RLU adjustment factor (adjust RLUs to 10,000, use highest estradiol RLU)
Concentration (ug/ml) | RLU | RLU
0.0001 | 11558.5 | 10094.5
5e-05 | 12438.5 | 12085.5
2.5e-05 | 13848.5 | 11522.5
1.25e-05 | 11239.5 | 8655.5
6.25e-06 | 9687.5 | 8655.5
3.125e-06 | 5307.5 | 5379.5
1.5625e-06 | 2114.5 | 3809.5
7.8125e-07 | 1135.5 | 840.5
3.9063e-07 | 196.5 | 333.5
1.9531e-07 | 484.5 | 161.5
9.7656e-08 | -165.5 | -373.5
Avg E2 Reference Standard RLU | Concentration (ug/mL) | Avg Adj E2 RLU | SD Adj RLU
10826.5 | 0.0001 | 8534.5473 | 1035.2043
12262 | 5e-05 | 9666.1543 | 249.6087
12685.5 | 2.5e-05 | 10000 | 1644.7304
9947.5 | 1.25e-05 | 7841.6302 | 1827.1639
9171.5 | 6.25e-06 | 7229.9082 | 729.7342
5343.5 | 3.125e-06 | 4212.2896 | 50.9117
2962 | 1.5625e-06 | 2334.9494 | 1198.546
988 | 7.8125e-07 | 778.842 | 208.5965
265 | 3.9063e-07 | 208.8999 | 96.8736
323 | 1.9531e-07 | 254.6214 | 228.3955
-269.5 | 9.7656e-08 | -212.4473 | 147.0782
Methoxychlor Control
ug/ml | RLU | adj RLU | Mean Adj RLU | SD Adj RLU | Chemical 1 | Replicate 1 |  | Replicate 2 |  | Replicate 3
313 | 8489.5 | 6692.2865 | 6650.9006 | 229.3208 | ug/ml | RLU | adj RLU | RLU | adj RLU | RLU | adj RLU
313 | 8020.5 | 6322.573 |  |  | 10 | 2066.5 | 1629.0253 | 2477.5 | 1953.0172 | 2317.5 | 1826.889
313 | 8543.5 | 6734.8548 |  |  | 2 | 1326.5 | 1045.6821 | 1425.5 | 1123.7239 | 1649.5 | 1300.3035
313 | 8694.5 | 6853.8883 |  |  | 0.4 | 233.5 | 184.0684 | 1156.5 | 911.6708 | 994.5 | 783.9659
DMSO Control |  |  |  |  | 0.08 | 97.5 | 76.8594 | 1159.5 | 914.0357 | 764.5 | 602.6566
Avg. RLU | Mean Adj RLU | SD | DMSO Mean + 3x SD | x-axis | 0.016 | 231.5 | 182.4918 | 806.5 | 635.7652 | 393.5 | 310.1967
0 | 0 | 188.9859 | 566.9577 | 1000 | 0.0032 | 87.5 | 68.9764 | 171.5 | 135.1937 | 468.5 | 369.3193
|  |  | 566.9577 | 1e-08 | 0.00064 | -354.5 | -279.4529 | 54.5 | 42.9624 | 467.5 | 368.531
[5 empty] | 0.000128 | -239.5 | -188.7982 | 659.5 | 519.8849 | 68.5 | 53.9987
Chemical 1 | Test Substance Results |  |  |  | 2.56e-05 | 133.5 | 105.2383 | 325.5 | 256.5922 | 145.5 | 114.6979
Concentration ug/mL | Mean Adjusted RLU | SD | Median Viability Score |  | 5.12e-06 | -238.5 | -188.0099 | -229.5 | -180.9152 | -166.5 | -131.2522
10 | 1802.9772 | 163.3142 | 1 |  | 1.024e-06 | -400.5 | -315.7148 | 331.5 | 261.322 | 331.5 | 261.322
2 | 1156.5698 | 130.4498 | 1 |  | Chemical 2 | Replicate 1 |  | Replicate 2 |  | Replicate 3
0.4 | 626.5684 | 388.4994 | 1 |  | ug/ml | RLU | adj RLU | RLU | 495.0213 | RLU | adj RLU
0.08 | 531.1839 | 423.1398 | 1 |  | 10 | -1474.5 | -1162.3507 | -1600.5 | -1261.6767 | -1697.5 | -1338.142
0.016 | 376.1512 | 233.7236 | 1 |  | 2 | -686.5 | -541.1691 | -553.5 | -436.3249 | -435.5 | -343.3053
0.0032 | 191.1631 | 157.8002 | 1 |  | 0.4 | 324.5 | 255.8039 | -211.5 | -166.7258 | 192.5 | 151.7481
0.00064 | 44.0135 | 323.9932 | 1 |  | 0.08 | 373.5 | 294.4306 | -114.5 | -90.2605 | 107.5 | 84.7424
0.000128 | 128.3618 | 360.1463 | 1 |  | 0.016 | 329.5 | 259.7454 | 19.5 | 15.3719 | -118.5 | -93.4137
2.56e-05 | 158.8428 | 84.7855 | 1 |  | 0.0032 | -11.5 | -9.0655 | 382.5 | 301.5254 | -130.5 | -102.8734
5.12e-06 | -166.7258 | 30.9251 | 1 |  | 0.00064 | 367.5 | 289.7008 | -85.5 | -67.3998 | -446.5 | -351.9767
1.024e-06 | 68.9764 | 333.1523 | 1 |  | 0.000128 | 362.5 | 285.7593 | 45.5 | 35.8677 | 57.5 | 45.3273
Chemical 2 | Test Substance Results |  |  |  | 2.56e-05 | 506.5 | 399.2748 | 101.5 | 80.0126 | 136.5 | 107.6032
Concentration ug/mL | Mean Adjusted RLU | SD | Median Viability Score |  | 5.12e-06 | 175.5 | 138.3469 | 847.5 | 668.0856 | -223.5 | -176.1854
10 | -1254.0565 | 88.143 | 1 |  | 1.024e-06 | 111.5 | 87.8956 | 494.5 | 389.8151 | -70.5 | -55.5753
2 | -440.2664 | 98.9907 | 1
0.4 | 80.2754 | 220.1456 | 1
0.08 | 96.3042 | 192.606 | 1
0.016 | 60.5678 | 180.8655 | 1
0.0032 | 63.1955 | 211.662 | 1
0.00064 | -43.2252 | 321.5211 | 1
0.000128 | 122.3181 | 141.6232 | 1
2.56e-05 | 195.6302 | 176.9001 | 1
5.12e-06 | 210.0824 | 426.6824 | 1
1.024e-06 | 140.7118 | 227.3441 | 1

## TEMPLATE
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
A | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
| 2066.5 | 1326.5 | 233.5 | 97.5 | 231.5 | 87.5 | -354.5 | -239.5 | 133.5 | -238.5 | -400.5 | -202.5 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
B | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
| 2477.5 | 1425.5 | 1156.5 | 1159.5 | 806.5 | 171.5 | 54.5 | 659.5 | 325.5 | -229.5 | 331.5 | -8.5 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
C | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
| 2317.5 | 1649.5 | 994.5 | 0 | 393.5 | 468.5 | 467.5 | 68.5 | 145.5 | -166.5 | 331.5 | -42.5 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO control | Sample ID
D | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
| -1474.5 | -686.5 | 324.5 | 373.5 | 329.5 | -11.5 | 367.5 | 362.5 | 506.5 | 175.5 | 111.5 | 253.5 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
E | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
| -1600.5 | -553.5 | -211.5 | -114.5 | 19.5 | 382.5 | -85.5 | 45.5 | 101.5 | 847.5 | 494.5 | 8489.5 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
F | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
| -1697.5 | -435.5 | 192.5 | 107.5 | -118.5 | -130.5 | 847.5 | 57.5 | 136.5 | -223.5 | -70.5 | 8020.5 | Results
| E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | Methoxychlor | Sample ID
G | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
| 11558.5 | 12438.5 | 13848.5 | 11239.5 | 9687.5 | 5307.5 | 2114.5 | 1135.5 | 196.5 | 484.5 | -165.5 | 8543.5 | Results
| E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | Methoxychlor | Sample ID
H | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
| 10094.5 | 12085.5 | 11522.5 | 8655.5 | 8655.5 | 5379.5 | 3809.5 | 840.5 | 333.5 | 161.5 | -373.5 | 8694.5 | Results

## Compound Mixing Observations
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Observations Made during Mixing of the Test Substances
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
A | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
Comments
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
B | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
Comments
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
C | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
Comments
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO control | Sample ID
D | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 0 | µg/mL Concentrations
Comments
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
E | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
Comments
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
F | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
Comments
| E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | Methoxychlor | Sample ID
G | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
Comments
| E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | Methoxychlor | Sample ID
H | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
Comments
|  | Note Code | Note Text
|  | 1 | No Precipitate
|  | 2 | Low Level of Precipitate
|  | 3 | Moderate Level of Precipitate
|  | 4 | High level of Precipitate

## Visual Observation Scoring
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Visual Observation Scores for Each Well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
A | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 1% | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
B | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 1% | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO control | Sample ID
C | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 1% | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO control | Sample ID
D | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 1% | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
E | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Methoxychlor | Sample ID
F | 10 | 2 | 0.4 | 0.08 | 0.016 | 0.0032 | 0.00064 | 0.000128 | 2.56e-05 | 5.12e-06 | 1.024e-06 | 313 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | E2 Replicate 1 | Methoxychlor | Sample ID
G | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
| E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | E2 Replicate 2 | Methoxychlor | Sample ID
H | 0.0001 | 5e-05 | 2.5e-05 | 1.25e-05 | 6.25e-06 | 3.125e-06 | 1.5625e-06 | 7.8125e-07 | 3.9063e-07 | 1.9531e-07 | 9.7656e-08 | 313 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Visual Observation Score
|  | Note Code | Note Text
|  | 1 | Normal Cell Morphology
|  | 2 | Low Level of Cell Toxicity
|  | 3 | Moderate Level of Cell Toxicity
|  | 4 | High level of Cell Toxicity
|  | P | Unable to View Cells Due to Precipitate