## Compound Tracking
Compound Tracking Form: |  |  | Plate #: | Enter Plate Identification Here
(i.e. Ant 1, Ant 2, …)
Cell Lot #: |  | Enter Lot Number
DMSO Lot #: |  | Enter Lot Number |  | Name: | Enter Experimenter Name Here
Media Lot #: |  | Enter Lot Number
|  | Name | ID #
Reference Standard: |  | Raloxifene / E2 | Enter ID Number |  | Date: | 2012-01-01
(i.e. 14-Nov-07)
Weak Positive Control | # 1 | Tamoxifen | Enter ID Number
E2 Control | # 2 | b-estradiol | Enter ID Number
Test Substance Code: | # 1 | Chemical 1 | Enter ID Number
| # 2 | Chemical 2 | Enter ID Number
Comments:
Did the plate pass the following acceptance criteria as set by NICEATM? |  |  |  | Test Substance | Test Substance Dilution (1:2 or 1:5) | Test substance postive in this experiment? (Yes/No) | Recommend Retest for this Substance? (Yes/No) | Why should the substance be retested?
Criterion: |  | Pass\Fail |  | Chemical 1 | 1:2 | Yes | No
DMSO Control |  |  |  | Chemical 2 | 1:5 | Yes | No
E2 Control
Tamoxifen/E2 Control
Reduction
Experiment
Enter Reviewer Name Here |  |  | 2012-01-01
Reviewer Name |  |  | Date

## RAW DATA
|  |  |  | Test Name: |  | Enter Plate Identification Here |  | Date | 2012-01-01
|  |  |  | Cell line ID: |  | 0
Microplate Reader |  | PACKARD OPTIPLATE 96 |  |  | No. of Intervals |  |  | 50 | Interval Time [s] |  | 0.3
Layout |  | XDS 96 well (Inside) |  |  | Tot. Meas. Time/Well [s] |  |  | 15 | Start Measurement [s] |  | 0
[5 empty] | Start Injection 1 [s] |  |  | 0 | Start Injection 2 [s] |  | 15
Test Type |  | Well Mode |  | Calculation Range |  | Start |  | 5 |  | Stop | 50
Reading Direction |  | vertical
|  |  | Ral/E2a | Ral/E2b | Mean
|  | Induction: | 8.5533 | 8.829 | 8.6912
Note: Be sure the Induction takes into account the highest RLU and the lowest RLU. If it does not, you must readjust the range.
| Table 1 | [8 empty] | Raw Data Table
A | 4454 | 4279 | 5177 | 10835 | 14586 | 15694 | 15341 | 15925 | 15264 | 15408 | 14805 | 3342
B | 4300 | 4556 | 5120 | 11789 | 15999 | 17537 | 16947 | 17263 | 16511 | 15943 | 15434 | 3698
C | 4581 | 4605 | 5062 | 12748 | 15348 | 16467 | 16799 | 16941 | 17171 | 16963 | 15897 | 4363
D | 2889 | 4519 | 4971 | 6284 | 11538 | 17107 | 16955 | 14996 | 16578 | 16771 | 15165 | 3617
E | 2820 | 4677 | 5091 | 5865 | 12232 | 16217 | 16399 | 16827 | 15011 | 17108 | 16196 | 6029
F | 2409 | 4543 | 5176 | 6368 | 12076 | 15908 | 15492 | 16666 | 15690 | 14928 | 14247 | 6059
G | 2308 | 2418 | 3356 | 3765 | 5557 | 9403 | 13740 | 17641 | 19741 | 14406 | 15227 | 6234
H | 2088 | 2247 | 2766 | 3517 | 5318 | 9174 | 14276 | 18435 | 18429 | 12886 | 13881 | 5632
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Table 2 | [8 empty] | Background Subtracted Data
A | 699 | 524 | 1422 | 7080 | 10831 | 11939 | 11586 | 12170 | 11509 | 11653 | 11050 | -413
B | 545 | 801 | 1365 | 8034 | 12244 | 13782 | 13192 | 13508 | 12756 | 12188 | 11679 | -57
C | 826 | 850 | 1307 | 8993 | 11593 | 12712 | 13044 | 13186 | 13416 | 13208 | 12142 | 608
D | -866 | 764 | 1216 | 2529 | 7783 | 13352 | 13200 | 11241 | 12823 | 13016 | 11410 | -138
E | -935 | 922 | 1336 | 2110 | 8477 | 12462 | 12644 | 13072 | 11256 | 13353 | 12441 | 2274
F | -1346 | 788 | 1421 | 2613 | 8321 | 12153 | 11737 | 12911 | 11935 | 11173 | 10492 | 2304
G | -1447 | -1337 | -399 | 10 | 1802 | 5648 | 9985 | 13886 | 15986 | 10651 | 11472 | 2479
H | -1667 | -1508 | -989 | -238 | 1563 | 5419 | 10521 | 14680 | 14674 | 9131 | 10126 | 1877
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | blank | 3755 | (average DMSO RLU)
Color Key
Red | Raloxifene Curve A (Ral a) |  |  |  | Note: Be sure the DMSO blanks are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted in Table 2. |  |  |  |  | DMSO Mean |  | 0
Pink | Raloxifene Curve B (Ral b) | [8 empty] | DMSO SD |  | 433.0227
Blue | DMSO
Green | Tamoxifen/E2
Grey | E2 Control |  |  |  | Note: Be sure the estradiol replicates are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted. |  |  |  |  | E2 Control Mean |  | 10345
Black | Chemical 1 | [8 empty] | E2 Control SD |  | 980.7348
Black | Chemical 2

## LIST
Test Name: |  | Enter Plate Identification Here |  | Date: | 2012-01-01
Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results | Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results
A1 | Chemical 1 | 10 | µg/ml |  | 699 | E1 | Chemical 2 | 100 | µg/ml |  | -935
A2 | # 2 | 5 | µg/ml |  | 524 | E2 | 0 | 20 | µg/ml |  | 922
A3 | 0 | 2.5 | µg/ml |  | 1422 | E3 | 0 | 4 | µg/ml |  | 1336
A4 | # 1 | 1.25 | µg/ml |  | 7080 | E4 | 0 | 0.8 | µg/ml |  | 2110
A5 | # 2 | 0.625 | µg/ml |  | 10831 | E5 | 0 | 0.16 | µg/ml |  | 8477
A6 | #REF! | 0.3125 | µg/ml |  | 11939 | E6 | #REF! | 0.032 | µg/ml |  | 12462
A7 | #REF! | 0.15625 | µg/ml |  | 11586 | E7 | #REF! | 0.0064 | µg/ml |  | 12644
A8 | #REF! | 0.078125 | µg/ml |  | 12170 | E8 | #REF! | 0.00128 | µg/ml |  | 13072
A9 | #REF! | 0.039062 | µg/ml |  | 11509 | E9 | #REF! | 0.000256 | µg/ml |  | 11256
A10 | #REF! | 0.019531 | µg/ml |  | 11653 | E10 | #REF! | 5.12e-05 | µg/ml |  | 13353
A11 | #REF! | 0.0097656 | µg/ml |  | 11050 | E11 | #REF! | 1.024e-05 | µg/ml |  | 12441
A12 | DMSO Control | 0 | µg/ml |  | -413 | E12 | Tamoxifen/E2 Control | 1.26 | µg/ml |  | 2274
B1 | Chemical 1 | 10 | µg/ml |  | 545 | F1 | Chemical 2 | 100 | µg/ml |  | -1346
B2 | 0 | 5 | µg/ml |  | 801 | F2 | 0 | 20 | µg/ml |  | 788
B3 | #REF! | 2.5 | µg/ml |  | 1365 | F3 | 0 | 4 | µg/ml |  | 1421
B4 | #REF! | 1.25 | µg/ml |  | 8034 | F4 | 0 | 0.8 | µg/ml |  | 2613
B5 | #REF! | 0.625 | µg/ml |  | 12244 | F5 | #REF! | 0.16 | µg/ml |  | 8321
B6 | #REF! | 0.3125 | µg/ml |  | 13782 | F6 | 0 | 0.032 | µg/ml |  | 12153
B7 | #REF! | 0.15625 | µg/ml |  | 13192 | F7 | 0 | 0.0064 | µg/ml |  | 11737
B8 | #REF! | 0.078125 | µg/ml |  | 13508 | F8 | 0 | 0.00128 | µg/ml |  | 12911
B9 | #REF! | 0.039062 | µg/ml |  | 12756 | F9 | 0 | 0.000256 | µg/ml |  | 11935
B10 | 0 | 0.019531 | µg/ml |  | 12188 | F10 | 0 | 5.12e-05 | µg/ml |  | 11173
B11 | 0 | 0.0097656 | µg/ml |  | 11679 | F11 | 0 | 1.024e-05 | µg/ml |  | 10492
B12 | DMSO Control | 0 | µg/ml |  | -57 | F12 | Tamoxifen/E2 Control | 1.26 | µg/ml |  | 2304
C1 | Chemical 1 | 10 | µg/ml |  | 826 | G1 | Ral/E2 Replicate 1 | 0.0125 | µg/ml |  | -1447
C2 | 0 | 5 | µg/ml |  | 850 | G2 |  | 0.00625 | µg/ml |  | -1337
C3 | 0 | 2.5 | µg/ml |  | 1307 | G3 |  | 0.003125 | µg/ml |  | -399
C4 | 0 | 1.25 | µg/ml |  | 8993 | G4 |  | 0.0015625 | µg/ml |  | 10
C5 | 0 | 0.625 | µg/ml |  | 11593 | G5 |  | 0.00078125 | µg/ml |  | 1802
C6 | 0 | 0.3125 | µg/ml |  | 12712 | G6 |  | 0.00039063 | µg/ml |  | 5648
C7 | 0 | 0.15625 | µg/ml |  | 13044 | G7 |  | 0.00019531 | µg/ml |  | 9985
C8 | 0 | 0.078125 | µg/ml |  | 13186 | G8 |  | 9.7656e-05 | µg/ml |  | 13886
C9 | 0 | 0.039062 | µg/ml |  | 13416 | G9 |  | 4.8828e-05 | µg/ml |  | 15986
C10 | 0 | 0.019531 | µg/ml |  | 13208 | G10 | E2 Control | 0.0025 | µg/ml |  | 10651
C11 | 0 | 0.0097656 | µg/ml |  | 12142 | G11 |  | 0.0025 | µg/ml |  | 11472
C12 | DMSO Control | 0 | µg/ml |  | 608 | G12 | Tamoxifen/E2 Control | 1.26 | µg/ml |  | 2479
D1 | Chemical 2 | 100 | µg/ml |  | -866 | H1 | Ral/E2 Replicate 2 | 0.0125 | µg/ml |  | -1667
D2 | 0 | 20 | µg/ml |  | 764 | H2 |  | 0.00625 | µg/ml |  | -1508
D3 | 0 | 4 | µg/ml |  | 1216 | H3 |  | 0.003125 | µg/ml |  | -989
D4 | 0 | 0.8 | µg/ml |  | 2529 | H4 |  | 0.0015625 | µg/ml |  | -238
D5 | 0 | 0.16 | µg/ml |  | 7783 | H5 |  | 0.00078125 | µg/ml |  | 1563
D6 | 0 | 0.032 | µg/ml |  | 13352 | H6 |  | 0.00039063 | µg/ml |  | 5419
D7 | 0 | 0.0064 | µg/ml |  | 13200 | H7 |  | 0.00019531 | µg/ml |  | 10521
D8 | 0 | 0.00128 | µg/ml |  | 11241 | H8 |  | 9.7656e-05 | µg/ml |  | 14680
D9 | 0 | 0.000256 | µg/ml |  | 12823 | H9 |  | 4.8828e-05 | µg/ml |  | 14674
D10 | 0 | 5.12e-05 | µg/ml |  | 13016 | H10 | E2 Control | 0.0025 | µg/ml |  | 9131
D11 | 0 | 1.024e-05 | µg/ml |  | 11410 | H11 |  | 0.0025 | µg/ml |  | 10126
D12 | DMSO Control | 0 | µg/ml |  | -138 | H12 | Tamoxifen/E2 Control | 1.26 | µg/ml |  | 1877
Note on C3: Site License: Entere concentrations (in µg/ml) here. Start with the highest concentration

## ER Antagonist REPORT
Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
|  |  | 0.65232 | RLU adjustment factor (adjust RLUs to 10,000, use highest estradiol RLU)
Ral/E2 Reference Standard | Ral/E2 Replicate 1 | Ral/E2 Replicate 2
Concentration (ug/ml) | RLU | RLU
0.0125 | -1447 | -1667
0.00625 | -1337 | -1508
0.003125 | -399 | -989
0.0015625 | 10 | -238
0.00078125 | 1802 | 1563
0.00039063 | 5648 | 5419
0.00019531 | 9985 | 10521
9.7656e-05 | 13886 | 14680
4.8828e-05 | 15986 | 14674
Average Ral/E2 RLU | Concentration (ug/mL) | Avg Adj Ral/E2 RLU | SD Adj RLU
-1557 | 0.0125 | -1015.6556 | 155.5635
-1422.5 | 0.00625 | -927.9191 | 120.9153
-694 | 0.003125 | -452.7071 | 417.193
-114 | 0.0015625 | -74.364 | 175.3625
1682.5 | 0.00078125 | 1097.5212 | 168.9985
5533.5 | 0.00039063 | 3609.589 | 161.9275
10253 | 0.00019531 | 6688.1931 | 379.0092
14283 | 9.7656e-05 | 9317.0254 | 561.4428
15330 | 4.8828e-05 | 10000 | 927.7241
Tamoxifen/E2 Control |  |  |  |  | Chemical 1 | Replicate 1 |  | Replicate 2 |  | Replicate 3
ug/ml | RLU | adj RLU | Mean Adj RLU | SD Adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU | RLU | adj RLU | Mean | SD
1.26 | 2274 | 1483.3659 | 1456.9472 | 165.87 | 10 | 699 | 455.9687 | 545 | 355.5121 | 826 | 538.8128 | 450.0978 | 91.7913
1.26 | 2304 | 1502.9354 |  |  | 5 | 524 | 341.8134 | 801 | 522.5049 | 850 | 554.4684 | 472.9289 | 114.6685
1.26 | 2479 | 1617.0907 |  |  | 2.5 | 1422 | 927.593 | 1365 | 890.411 | 1307 | 852.5766 | 890.1935 | 37.5086
2.52 | 1877 | 1224.3966 |  |  | 1.25 | 7080 | 4618.3953 | 8034 | 5240.7045 | 8993 | 5866.2753 | 5241.7917 | 623.9407
DMSO |  |  |  |  | 0.625 | 10831 | 7065.2316 | 12244 | 7986.9537 | 11593 | 7562.2962 | 7538.1605 | 461.3348
Mean Avg. RLU | Mean Adj RLU | SD | Mean + 3x SD | x-axis | 0.3125 | 11939 | 7787.9974 | 13782 | 8990.2153 | 12712 | 8292.2374 | 8356.8167 | 603.7051
0 | 0 | 433.0227 | 1299.0681 | 1000 | 0.15625 | 11586 | 7557.7299 | 13192 | 8605.349 | 13044 | 8508.8063 | 8223.9617 | 578.9894
|  |  | 1299.0681 | 1e-08 | 0.078125 | 12170 | 7938.6823 | 13508 | 8811.4808 | 13186 | 8601.4351 | 8450.5327 | 455.5468
E2 Control |  |  |  |  | 0.039062 | 11509 | 7507.5016 | 12756 | 8320.9393 | 13416 | 8751.4677 | 8193.3029 | 631.7287
RLU | adj RLU | E2 Control Mean - 3x SD | Mean Adj RLU | SD | 0.019531 | 11653 | 7601.4351 | 12188 | 7950.424 | 13208 | 8615.786 | 8055.8817 | 515.3329
10651 | 6947.8147 | 4828.96 | 6748.2061 | 639.7487 | 0.0097656 | 11050 | 7208.0887 | 11679 | 7618.3953 | 12142 | 7920.4175 | 7582.3005 | 357.5335
11472 | 7483.3659 | 4828.96 |  |  | Chemical 2 | Replicate 1 |  | Replicate 2 |  | Replicate 3
9131 | 5956.2948 | x-axis |  |  | ug/ml | RLU | adj RLU | RLU | adj RLU | RLU | adj RLU | Mean | SD
10126 | 6605.349 | 10000 |  |  | 100 | -866 | -564.9054 | -935 | -609.9152 | -1346 | -878.017 | -684.2792 | 169.2844
|  | 1e-08 |  |  | 20 | 764 | 498.3692 | 922 | 601.4351 | 788 | 514.0248 | 537.943 | 55.5401
[5 empty] | 4 | 1216 | 793.2159 | 1336 | 871.4938 | 1421 | 926.9406 | 863.8835 | 67.1864
[5 empty] | 0.8 | 2529 | 1649.7065 | 2110 | 1376.3862 | 2613 | 1704.501 | 1576.8645 | 175.7677
Chemical 1 | Test Substance Results |  |  |  | 0.16 | 7783 | 5076.9733 | 8477 | 5529.6804 | 8321 | 5427.9191 | 5344.8576 | 237.5086
Concentration (ug/mL) | Mean Adjusted RLU | SD | Median Viability Score |  | 0.032 | 13352 | 8709.7195 | 12462 | 8129.1585 | 12153 | 7927.593 | 8255.4903 | 406.0792
10 | 450.0978 | 91.7913 | P |  | 0.0064 | 13200 | 8610.5675 | 12644 | 8247.88 | 11737 | 7656.2296 | 8171.559 | 481.7249
5 | 472.9289 | 114.6685 | 2 |  | 0.00128 | 11241 | 7332.681 | 13072 | 8527.0711 | 12911 | 8422.0483 | 8093.9335 | 661.352
2.5 | 890.1935 | 37.5086 | 1 |  | 0.000256 | 12823 | 8364.6445 | 11256 | 7342.4658 | 11935 | 7785.3881 | 7830.8328 | 512.6024
1.25 | 5241.7917 | 623.9407 | 1 |  | 5.12e-05 | 13016 | 8490.5414 | 13353 | 8710.3718 | 11173 | 7288.3235 | 8163.0789 | 765.4927
0.625 | 7538.1605 | 461.3348 | 1 |  | 1.024e-05 | 11410 | 7442.9224 | 12441 | 8115.4599 | 10492 | 6844.0965 | 7467.4929 | 636.0377
0.3125 | 8356.8167 | 603.7051 | 1
0.15625 | 8223.9617 | 578.9894 | 1
0.078125 | 8450.5327 | 455.5468 | 1
0.039062 | 8193.3029 | 631.7287 | 1
0.019531 | 8055.8817 | 515.3329 | 1
0.0097656 | 7582.3005 | 357.5335 | 1
Chemical 2 | Test Substance Results
Concentration (ug/mL) | Mean Adjusted RLU | SD | Median Viability Score
100 | -684.2792 | 169.2844 | 3
20 | 537.943 | 55.5401 | 2
4 | 863.8835 | 67.1864 | 1
0.8 | 1576.8645 | 175.7677 | 1
0.16 | 5344.8576 | 237.5086 | 1
0.032 | 8255.4903 | 406.0792 | 1
0.0064 | 8171.559 | 481.7249 | 1
0.00128 | 8093.9335 | 661.352 | 1
0.000256 | 7830.8328 | 512.6024 | 1
5.12e-05 | 8163.0789 | 765.4927 | 1
1.024e-05 | 7467.4929 | 636.0377 | 1

## TEMPLATE
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
A | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentration
| 699 | 524 | 1422 | 7080 | 10831 | 11939 | 11586 | 12170 | 11509 | 11653 | 11050 | -413 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
B | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentration
| 545 | 801 | 1365 | 8034 | 12244 | 13782 | 13192 | 13508 | 12756 | 12188 | 11679 | -57 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
C | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentration
| 826 | 850 | 1307 | 0 | 11593 | 12712 | 13044 | 13186 | 13416 | 13208 | 12142 | 608 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO Control | Sample ID
D | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 0 | µg/mL Concentration
| -866 | 764 | 1216 | 2529 | 7783 | 13352 | 13200 | 11241 | 12823 | 13016 | 11410 | -138 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
E | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentration
| -935 | 922 | 1336 | 2110 | 8477 | 12462 | 12644 | 13072 | 11256 | 13353 | 12441 | 2274 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
F | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentration
| -1346 | 788 | 1421 | 2613 | 8321 | 12153 | 13353 | 12911 | 11935 | 11173 | 10492 | 2304 | Results
| Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
G | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentration
| -1447 | -1337 | -399 | 10 | 1802 | 5648 | 9985 | 13886 | 15986 | 10651 | 11472 | 2479 | Results
| Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
H | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentration
| -1667 | -1508 | -989 | -238 | 1563 | 5419 | 10521 | 14680 | 14674 | 9131 | 10126 | 1877 | Results

## Compound Mixing Observations
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Observations Made during Mixing of the Test Substance (i.e., cloudiness, precipate, etc.)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
A | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
B | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
C | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO Control | Sample ID
D | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 0 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
E | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
F | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
G | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
| Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
H | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Results
|  | Note Code | Note Text
|  | 1 | No Precipitate
|  | 2 | Low Level of Precipitate
|  | 3 | Moderate Level of Precipitate
|  | 4 | High level of Precipitate

## Visual Inspection for Viability
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Visual Observation Scores
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
20 hour exposure
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
A | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 0 | µg/mL Concentrations
|  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
B | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 1% | µg/mL Concentrations
|  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | Chemical 1 | DMSO Control | Sample ID
C | 10 | 5 | 2.5 | 1.25 | 0.625 | 0.3125 | 0.15625 | 0.078125 | 0.039062 | 0.019531 | 0.0097656 | 1% | µg/mL Concentrations
|  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | DMSO Control | Sample ID
D | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1% | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
E | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Chemical 2 | Tamoxifen/E2 Control | Sample ID
F | 100 | 20 | 4 | 0.8 | 0.16 | 0.032 | 0.0064 | 0.00128 | 0.000256 | 5.12e-05 | 1.024e-05 | 1.26 | µg/mL Concentrations
| 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | Ral/E2 Replicate 1 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
G | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
| Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | Ral/E2 Replicate 2 | E2 Control | E2 Control | Tamoxifen/E2 Control | Sample ID
H | 0.0125 | 0.00625 | 0.003125 | 0.0015625 | 0.00078125 | 0.00039063 | 0.00019531 | 9.7656e-05 | 4.8828e-05 | 0.0025 | 0.0025 | 1.26 | µg/mL Concentrations
| 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Scores
|  | Note Code | Note Text
|  | 1 | Normal Cell Morphology
|  | 2 | Low Level of Cell Toxicity
|  | 3 | Moderate Level of Cell Toxicity
|  | 4 | High level of Cell Toxicity
|  | P | Unable to View Cells Due to Precipitate