## Compound Tracking
Compound Tracking Form: |  |  | Plate #: | Enter Plate Identification Here
(i.e. Ant 1, Ant 2, …)
Cell Lot #: |  | Enter Lot Number
DMSO Lot #: |  | Enter Lot Number |  |  | Name: | Enter Experimenter Name Here
Media Lot #: |  | Enter Lot Number
|  | Name | ID #
Standard: |  | Raloxifene / E2 | R00253/R00251 |  | Date: | 2012-01-01
(ex. 14-Nov-07)
E2 Control | # 1 | b-estradiol | R00251
Test Substance Code | # 1 | Chemical 1 | 100 | 1 to 2
| # 2 | Chemical 2
| # 3 | Chemical 3
| # 4 | Chemical 4
| # 5 | Chemical 5
| # 6 | Chemical 6
Comments:
Plate Pass/Fail Table |  |  |  | Testing Results Table
Did the plate pass the following acceptance criteria as set by NICEATM? |  |  |  | Test Substance | Test substance postive in this experiment? (Yes/No) | Recommend Retest for this Substance?(Yes/No) | Why should the substance be retested?
Criterion: |  | Pass\Fail |  | Chemical 1
DMSO Control |  |  |  | Chemical 2
E2 Control |  |  |  | Chemical 3
Reduction |  |  |  | Chemical 4
Experiment |  |  |  | Chemical 5
Chemical 6
Enter Reviewer Name Here |  |  | 2012-01-01
Reviewer Name |  |  | Date

## RAW DATA
Orion |  |  |  | Test Name: |  | Enter Plate Identification Here |  | Date | 2012-01-01
Berthold |  |  |  | Cell line ID: |  | BG1
Microplate |  |  | PACKARD OPTIPLATE 96 |  |  | No. of Intervals |  |  | 50 | Interval Time [s] |  | 0.3
Layout |  |  | XDS 96 well (Inside) |  |  | Tot. Meas. Time/Well [s] |  |  | 15 | Start Measurement [s] |  | 0
[6 empty] | Start Injection 1 [s] |  |  | 0 | Start Injection 2 [s] |  | 15
Test Type |  |  | Well Mode
Reading Direction |  |  | vertical
[5 empty] | Calculation Range |  | Start |  | 5 |  | Stop | 50
|  |  | Ral/E2a | Ral/E2b | Mean
|  | Reduction: | 4.4784 | 4.5909 | 4.5347
Note: Be sure the Induction takes into account the highest RLU and the blank. If it does not, you must readjust the range.
| Table 1 | [8 empty] | Raw Data Table
A | 4235 | 5109 | 238 | 349 | 173 | 179 | 524 | 615 | 46 | 53 | 7823 | 3049
B | 11266 | 13769 | 7581 | 8184 | 7373 | 7365 | 9062 | 9324 | 3849 | 3828 | 9633 | 37027
C | 13854 | 15260 | 5739 | 5945 | 7286 | 6427 | 9792 | 8544 | 8075 | 7769 | 11154 | 12912
D | 13995 | 16587 | 5801 | 6415 | 6443 | 6359 | 7659 | 7660 | 6861 | 6938 | 12076 | 10959
E | 13386 | 16238 | 5958 | 6554 | 6018 | 6336 | 7130 | 6925 | 5470 | 5447 | 11933 | 10598
F | 13394 | 15945 | 5921 | 6360 | 6578 | 6196 | 8212 | 6632 | 6399 | 6054 | 11504 | 10882
G | 13004 | 14690 | 5562 | 5767 | 6584 | 6733 | 6038 | 6033 | 6130 | 5740 | 10631 | 8148
H | 3885 | 7238 | 15373 | 3499 | 3501 | 3298 | 12547 | 12791 | 12871 | 4025 | 7695 | 15759
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Table 2 | [8 empty] | Background Subtracted Data
A | 802.3333 | 1676.3333 | -3194.6667 | -3083.6667 | -3259.6667 | -3253.6667 | -2908.6667 | -2817.6667 | -3386.6667 | -3379.6667 | 4390.3333 | -383.6667
B | 7833.3333 | 10336.3333 | 4148.3333 | 4751.3333 | 3940.3333 | 3932.3333 | 5629.3333 | 5891.3333 | 416.3333 | 395.3333 | 6200.3333 | 33594.3333
C | 10421.3333 | 11827.3333 | 2306.3333 | 2512.3333 | 3853.3333 | 2994.3333 | 6359.3333 | 5111.3333 | 4642.3333 | 4336.3333 | 7721.3333 | 9479.3333
D | 10562.3333 | 13154.3333 | 2368.3333 | 2982.3333 | 3010.3333 | 2926.3333 | 4226.3333 | 4227.3333 | 3428.3333 | 3505.3333 | 8643.3333 | 7526.3333
E | 9953.3333 | 12805.3333 | 2525.3333 | 3121.3333 | 2585.3333 | 2903.3333 | 3697.3333 | 3492.3333 | 2037.3333 | 2014.3333 | 8500.3333 | 7165.3333
F | 9961.3333 | 12512.3333 | 2488.3333 | 2927.3333 | 3145.3333 | 2763.3333 | 4779.3333 | 3199.3333 | 2966.3333 | 2621.3333 | 8071.3333 | 7449.3333
G | 9571.3333 | 11257.3333 | 2129.3333 | 2334.3333 | 3151.3333 | 3300.3333 | 2605.3333 | 2600.3333 | 2697.3333 | 2307.3333 | 7198.3333 | 4715.3333
H | 452.3333 | 3805.3333 | 11940.3333 | 66.3333 | 68.3333 | -134.6667 | 9114.3333 | 9358.3333 | 9438.3333 | 592.3333 | 4262.3333 | 12326.3333
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | blank | 3432.6667 | (average DMSO RLU)
Color Key
Red | Ral/E2 Curve A (Ral/E2a) |  |  |  | Note: Be sure the DMSO blanks are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted in Table 2. |  |  |  |  | DMSO Mean |  | 1.5158e-13
Pink | Ral/E2 Curve B (Ral/E2b) | [8 empty] | DMSO SD |  | 116.629
Blue | DMSO
Grey | 10 pg E2
Black | Chemical 1
Black | Chemical 2 |  |  |  | Note: Be sure the estradiol replicates are not significantly different in Table 1. If they are, the average and st. dev. range must be readjusted for the range. |  |  |  |  | E2 Control Mean
Black | Chemical 3 | [8 empty] | 9303.6667
Black | Chemical 4 | [8 empty] | E2 Control SD
Black | Chemical 5 | [8 empty] | 168.776
Black | Chemical 6

## LIST
Test Name: |  | Enter Plate Identification Here |  | Date: | 2012-01-01
Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results | Cell name | Test Substance Code / Sample ID | Concentration |  | Comments | Results
A1 | Chemical 1 | 100 | µg/ml |  | 802.3333 | A7 | Chemical 4 |  | µg/ml |  | -2908.6667
B1 |  | 10 | µg/ml |  | 7833.3333 | B7 |  |  | µg/ml |  | 5629.3333
C1 |  | 1 | µg/ml |  | 10421.3333 | C7 |  |  | µg/ml |  | 6359.3333
D1 |  | 0.1 | µg/ml |  | 10562.3333 | D7 |  |  | µg/ml |  | 4226.3333
E1 |  | 0.01 | µg/ml |  | 9953.3333 | E7 |  |  | µg/ml |  | 3697.3333
F1 |  | 0.001 | µg/ml |  | 9961.3333 | F7 |  |  | µg/ml |  | 4779.3333
G1 |  | 0.0001 | µg/ml |  | 9571.3333 | G7 |  |  | µg/ml |  | 2605.3333
H1 | Ral/E2 a | 0.00156 | µg/ml |  | 452.3333 | H7 | E2 control | 0.0025 | µg/ml |  | 9114.3333
A2 | Chemical 1 | 100 | µg/ml |  | 1676.3333 | A8 | Chemical 4 | 0 | µg/ml |  | -2817.6667
B2 |  | 10 | µg/ml |  | 10336.3333 | B8 |  | 0 | µg/ml |  | 5891.3333
C2 |  | 1 | µg/ml |  | 11827.3333 | C8 |  | 0 | µg/ml |  | 5111.3333
D2 |  | 0.1 | µg/ml |  | 13154.3333 | D8 |  | 0 | µg/ml |  | 4227.3333
E2 |  | 0.01 | µg/ml |  | 12805.3333 | E8 |  | 0 | µg/ml |  | 3492.3333
F2 |  | 0.001 | µg/ml |  | 12512.3333 | F8 |  | 0 | µg/ml |  | 3199.3333
G2 |  | 0.0001 | µg/ml |  | 11257.3333 | G8 |  | 0 | µg/ml |  | 2600.3333
H2 | Ral/E2 a | 0.000391 | µg/ml |  | 3805.3333 | H8 | E2 control | 0.0025 | µg/ml |  | 9358.3333
A3 | Chemical 2 |  | µg/ml |  | -3194.6667 | A9 | Chemical 5 |  | µg/ml |  | -3386.6667
B3 |  |  | µg/ml |  | 4148.3333 | B9 |  |  | µg/ml |  | 416.3333
C3 |  |  | µg/ml |  | 2306.3333 | C9 |  |  | µg/ml |  | 4642.3333
D3 |  |  | µg/ml |  | 2368.3333 | D9 |  |  | µg/ml |  | 3428.3333
E3 |  |  | µg/ml |  | 2525.3333 | E9 |  |  | µg/ml |  | 2037.3333
F3 |  |  | µg/ml |  | 2488.3333 | F9 |  |  | µg/ml |  | 2966.3333
G3 |  |  | µg/ml |  | 2129.3333 | G9 |  |  | µg/ml |  | 2697.3333
H3 | Ral/E2 a | 9.77e-05 | µg/ml |  | 11940.3333 | H9 | E2 control | 0.0025 | µg/ml |  | 9438.3333
A4 | Chemical 2 | 0 | µg/ml |  | -3083.6667 | A10 | Chemical 5 | 0 | µg/ml |  | -3379.6667
B4 |  | 0 | µg/ml |  | 4751.3333 | B10 |  | 0 | µg/ml |  | 395.3333
C4 |  | 0 | µg/ml |  | 2512.3333 | C10 |  | 0 | µg/ml |  | 4336.3333
D4 |  | 0 | µg/ml |  | 2982.3333 | D10 |  | 0 | µg/ml |  | 3505.3333
E4 |  | 0 | µg/ml |  | 3121.3333 | E10 |  | 0 | µg/ml |  | 2014.3333
F4 |  | 0 | µg/ml |  | 2927.3333 | F10 |  | 0 | µg/ml |  | 2621.3333
G4 |  | 0 | µg/ml |  | 2334.3333 | G10 |  | 0 | µg/ml |  | 2307.3333
H4 | DMSO | 0 | µg/ml |  | 66.3333 | H10 | Ral/E2 b | 0.00156 | µg/ml |  | 592.3333
A5 | Chemical 3 |  | µg/ml |  | -3259.6667 | A11 | Chemical 6 |  | µg/ml |  | 4390.3333
B5 |  |  | µg/ml |  | 3940.3333 | B11 |  |  | µg/ml |  | 6200.3333
C5 |  |  | µg/ml |  | 3853.3333 | C11 |  |  | µg/ml |  | 7721.3333
D5 |  |  | µg/ml |  | 3010.3333 | D11 |  |  | µg/ml |  | 8643.3333
E5 |  |  | µg/ml |  | 2585.3333 | E11 |  |  | µg/ml |  | 8500.3333
F5 |  |  | µg/ml |  | 3145.3333 | F11 |  |  | µg/ml |  | 8071.3333
G5 |  |  | µg/ml |  | 3151.3333 | G11 |  |  | µg/ml |  | 7198.3333
H5 | DMSO | 0 | µg/ml |  | 68.3333 | H11 | Ral/E2 b | 0.000391 | µg/ml |  | 4262.3333
A6 | Chemical 3 | 0 | µg/ml |  | -3253.6667 | A12 | Chemical 6 | 0 | µg/ml |  | -383.6667
B6 |  | 0 | µg/ml |  | 3932.3333 | B12 |  | 0 | µg/ml |  | 33594.3333
C6 |  | 0 | µg/ml |  | 2994.3333 | C12 |  | 0 | µg/ml |  | 9479.3333
D6 |  | 0 | µg/ml |  | 2926.3333 | D12 |  | 0 | µg/ml |  | 7526.3333
E6 |  | 0 | µg/ml |  | 2903.3333 | E12 |  | 0 | µg/ml |  | 7165.3333
F6 |  | 0 | µg/ml |  | 2763.3333 | F12 |  | 0 | µg/ml |  | 7449.3333
G6 |  | 0 | µg/ml |  | 3300.3333 | G12 |  | 0 | µg/ml |  | 4715.3333
H6 | DMSO | 0 | µg/ml |  | -134.6667 | H12 | Ral/E2 b | 9.77e-05 | µg/ml |  | 12326.3333

## ER Antagonist REPORT
Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
|  | 0.82418 | RLU adjustment factor (adjust RLUs to 10,000, use highest Ral/E2 RLU)
| Ral/E2 a | Ral/E2 b
ug/ml | RLU | RLU
9.77e-05 | 11940.3333 | 12326.3333
0.000391 | 3805.3333 | 4262.3333
0.00156 | 452.3333 | 592.3333
Mean Ral\E2 RLU | Mean Ral/E2 Adj RLU | SD Adj RLU
12133.3333 | 10000 | 272.9432
4033.8333 | 3324.5879 | 323.1478
522.3333 | 430.4945 | 98.9949
DMSO
Avg. RLU | Mean adjDMSO RLU | DMSO St. Dev. | DMSO Mean +3x St. Dev | x-axis
1.5158e-13 | 1.2493e-13 | 116.629 | 349.8871 | 1000
|  |  | 349.8871 | 1e-08
E2 Control
RLU | adj RLU | E2 Control Mean: | SD | E2 Control Mean -3x SD | x-axis
9114.3333 | 7511.8132 | 7667.8571 | 139.1011 | 7250.5539 | 10000
9358.3333 | 7712.9121 |  |  | 7250.5539 | 1e-08
9438.3333 | 7778.8462
Chemical 1 | Replicate 1 |  | Replicate 2 |  | Chemical 2 | Replicate 1 |  | Replicate 2 |  | Chemical 3 | Replicate 1 |  | Replicate 2
ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU
100 | 802.3333 | 661.2637 | 1676.3333 | 1381.5934 | 0 | -3194.6667 | -2632.967 | -3083.6667 | -2541.4835 | 0 | -3259.6667 | -2686.5385 | -3253.6667 | -2681.5934
10 | 7833.3333 | 6456.044 | 10336.3333 | 8518.956 | 0 | 4148.3333 | 3418.956 | 4751.3333 | 3915.9341 | 0 | 3940.3333 | 3247.5275 | 3932.3333 | 3240.9341
1 | 10421.3333 | 8589.011 | 11827.3333 | 9747.8022 | 0 | 2306.3333 | 1900.8242 | 2512.3333 | 2070.6044 | 0 | 3853.3333 | 3175.8242 | 2994.3333 | 2467.8571
0.1 | 10562.3333 | 8705.2198 | 13154.3333 | 10841.4835 | 0 | 2368.3333 | 1951.9231 | 2982.3333 | 2457.967 | 0 | 3010.3333 | 2481.044 | 2926.3333 | 2411.8132
0.01 | 9953.3333 | 8203.2967 | 12805.3333 | 10553.8462 | 0 | 2525.3333 | 2081.3187 | 3121.3333 | 2572.5275 | 0 | 2585.3333 | 2130.7692 | 2903.3333 | 2392.8571
0.001 | 9961.3333 | 8209.8901 | 12512.3333 | 10312.3626 | 0 | 2488.3333 | 2050.8242 | 2927.3333 | 2412.6374 | 0 | 3145.3333 | 2592.3077 | 2763.3333 | 2277.4725
0.0001 | 9571.3333 | 7888.4615 | 11257.3333 | 9278.022 | 0 | 2129.3333 | 1754.9451 | 2334.3333 | 1923.9011 | 0 | 3151.3333 | 2597.2527 | 3300.3333 | 2720.0549
Chemical 4 | Replicate 1 |  | Replicate 2 |  | Chemical 5 | Replicate 1 |  | Replicate 2 |  | Chemical 6 | Replicate 1 |  | Replicate 2
ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU | ug/ml | RLU | adj RLU | RLU | adj RLU
0 | -2908.6667 | -2397.2527 | -2817.6667 | -2322.2527 | 0 | -3386.6667 | -2791.2088 | -3379.6667 | -2785.4396 | 0 | 4390.3333 | 3618.4066 | -383.6667 | -316.2088
0 | 5629.3333 | 4639.5604 | 5891.3333 | 4855.4945 | 0 | 416.3333 | 343.1319 | 395.3333 | 325.8242 | 0 | 6200.3333 | 5110.1648 | 33594.3333 | 27687.6374
0 | 6359.3333 | 5241.2088 | 5111.3333 | 4212.6374 | 0 | 4642.3333 | 3826.0989 | 4336.3333 | 3573.9011 | 0 | 7721.3333 | 6363.7363 | 9479.3333 | 7812.6374
0 | 4226.3333 | 3483.2418 | 4227.3333 | 3484.0659 | 0 | 3428.3333 | 2825.5495 | 3505.3333 | 2889.011 | 0 | 8643.3333 | 7123.6264 | 7526.3333 | 6203.022
0 | 3697.3333 | 3047.2527 | 3492.3333 | 2878.2967 | 0 | 2037.3333 | 1679.1209 | 2014.3333 | 1660.1648 | 0 | 8500.3333 | 7005.7692 | 7165.3333 | 5905.4945
0 | 4779.3333 | 3939.011 | 3199.3333 | 2636.8132 | 0 | 2966.3333 | 2444.7802 | 2621.3333 | 2160.4396 | 0 | 8071.3333 | 6652.1978 | 7449.3333 | 6139.5604
0 | 2605.3333 | 2147.2527 | 2600.3333 | 2143.1319 | 0 | 2697.3333 | 2223.0769 | 2307.3333 | 1901.6484 | 0 | 7198.3333 | 5932.6923 | 4715.3333 | 3886.2637
Averaged Range Finder Data for Coded Test Substances.
Chemical 1 |  |  |  | Chemical 2 |  |  |  | Chemical 3
Concentration (ug/mL) | Averaged Results | SD | Median Viability | Concentration (ug/mL) | Averaged Results | SD | Median Viability | Concentration (ug/mL) | Averaged Results | SD | Median Viability
100 | 1021.4286 | 509.35 | 2 | 0 | -2587.2253 | 64.6886 | #NUM! | 0 | -2684.0659 | 3.4967 | #NUM!
10 | 7487.5 | 1458.6991 | 1 | 0 | 3667.4451 | 351.4165 | #NUM! | 0 | 3244.2308 | 4.6622 | #NUM!
1 | 9168.4066 | 819.3891 | 1 | 0 | 1985.7143 | 120.0527 | #NUM! | 0 | 2821.8407 | 500.6083 | #NUM!
0.1 | 9773.3516 | 1510.5666 | 1 | 0 | 2204.9451 | 357.8271 | #NUM! | 0 | 2446.4286 | 48.9535 | #NUM!
0.01 | 9378.5714 | 1662.0895 | 1 | 0 | 2326.9231 | 347.3371 | #NUM! | 0 | 2261.8132 | 185.3241 | #NUM!
0.001 | 9261.1264 | 1486.6726 | 1 | 0 | 2231.7308 | 255.8406 | #NUM! | 0 | 2434.8901 | 222.6221 | #NUM!
0.0001 | 8583.2418 | 982.5676 | 1 | 0 | 1839.4231 | 119.47 | #NUM! | 0 | 2658.6538 | 86.8343 | #NUM!
Chemical 4 |  |  |  | Chemical 5 |  |  |  | Chemical 6
Concentration (ug/mL) | Averaged Results | SD | Median Viability | Concentration (ug/mL) | Averaged Results | SD | Median Viability | Concentration (ug/mL) | Averaged Results | SD | Median Viability
0 | -2359.7527 | 53.033 | #NUM! | 0 | -2788.3242 | 4.0795 | #NUM! | 0 | 1651.0989 | 2782.1932 | #NUM!
0 | 4747.5275 | 152.6884 | #NUM! | 0 | 334.478 | 12.2384 | #NUM! | 0 | 16398.9011 | 15964.6839 | #NUM!
0 | 4726.9231 | 727.3098 | #NUM! | 0 | 3700 | 178.3308 | #NUM! | 0 | 7088.1868 | 1024.5278 | #NUM!
0 | 3483.6538 | 0.58278 | #NUM! | 0 | 2857.2802 | 44.8741 | #NUM! | 0 | 6663.3242 | 650.9656 | #NUM!
0 | 2962.7747 | 119.47 | #NUM! | 0 | 1669.6429 | 13.4039 | #NUM! | 0 | 6455.6319 | 778.0117 | #NUM!
0 | 3287.9121 | 920.7929 | #NUM! | 0 | 2302.6099 | 201.0592 | #NUM! | 0 | 6395.8791 | 362.4894 | #NUM!
0 | 2145.1923 | 2.9139 | #NUM! | 0 | 2062.3626 | 227.2843 | #NUM! | 0 | 4909.478 | 1447.0435 | #NUM!

## TEMPLATE
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
A | 802.3333 | 802.3333 | -3194.6667 | -3083.6667 | -3259.6667 | -3253.6667 | -2908.6667 | -2817.6667 | -3386.6667 | -3379.6667 | 4390.3333 | -383.6667 | Results
| 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
B | 7833.3333 | 10336.3333 | 4148.3333 | 4751.3333 | 3940.3333 | 3932.3333 | 5629.3333 | 5891.3333 | 416.3333 | 395.3333 | 6200.3333 | 33594.3333 | Results
| 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
C | 10421.3333 | 11827.3333 | 2306.3333 | 2512.3333 | 3853.3333 | 2994.3333 | 6359.3333 | 5111.3333 | 4642.3333 | 4336.3333 | 7721.3333 | 9479.3333 | Results
| 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
D | 10562.3333 | 13154.3333 | 2368.3333 | 2982.3333 | 3010.3333 | 2926.3333 | 4226.3333 | 4227.3333 | 3428.3333 | 3505.3333 | 8643.3333 | 7526.3333 | Results
| 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
E | 9953.3333 | 12805.3333 | 2525.3333 | 3121.3333 | 2585.3333 | 2903.3333 | 76 | 3492.3333 | 2037.3333 | 2014.3333 | 8500.3333 | 7165.3333 | Results
| 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
F | 9961.3333 | 12512.3333 | 2488.3333 | 2927.3333 | 3145.3333 | 2763.3333 | 4779.3333 | 3199.3333 | 2966.3333 | 2621.3333 | 8071.3333 | 7449.3333 | Results
| 0.0001 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
G | 9571.3333 | 11257.3333 | 2129.3333 | 2334.3333 | 3151.3333 | 3300.3333 | 2605.3333 | 2600.3333 | 2697.3333 | 2307.3333 | 7198.3333 | 4715.3333 | Results
| 0.00156 | 0.000391 | 9.77e-05 | 0 | 0 | 0 | 0.0025 | 0.0025 | 0.0025 | 0.00156 | 0.000391 | 9.77e-05 | µg/mL Concentrations
| Ral/E2 a | Ral/E2 a | Ral/E2 a | DMSO | DMSO | DMSO | E2 control | E2 control | E2 control | Ral/E2 b | Ral/E2 b | Ral/E2 b | Sample ID
H | 452.3333 | 3805.3333 | 11940.3333 | -3259.6667 | 68.3333 | -134.6667 | 9114.3333 | 9358.3333 | 9438.3333 | 592.3333 | 4262.3333 | 12326.3333 | Results

## Compound Mixing Observations
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Observations Made during Mixing of the Test Substance
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
A | 1 | 1 | [10 empty] | Comments
| 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
B | 1 | 1 | [10 empty] | Comments
| 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
C | 1 | 1 | [10 empty] | Comments
| 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
D | 1 | 1 | [10 empty] | Comments
| 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
E | [12 empty] | Comments
| 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
F | 1 | 1 | [10 empty] | Comments
| 0.0001 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
G | 1 | 1 | [10 empty] | Comments
| 0.00156 | 0.000391 | 9.77e-05 | 0 | 0 | 0 | 0.0025 | 0.0025 | 0.0025 | 0.00156 | 0.000391 | 9.77e-05 | µg/mL Concentrations
| Ral/E2 a | Ral/E2 a | Ral/E2 a | DMSO | DMSO | DMSO | E2 control | E2 control | E2 control | Ral/E2 b | Ral/E2 b | Ral/E2 b | Sample ID
H | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Comments
|  |  | Note Code | Note Text
|  |  | 1 | No Precipitate
|  |  | 2 | Low Level of Precipitate
|  |  | 3 | Moderate Level of Precipitate
|  |  | 4 | High level of Precipitate

## Visual Inspection for Viability
|  |  |  | Test Name: | Enter Plate Identification Here |  | Date: | 2012-01-01
Visual Observations of Cell Viability
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Table Information
20 hour exposure
| 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
A | [12 empty] | Viability Score
| 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
B | [12 empty] | Viability Score
| 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
C | [12 empty] | Viability Score
| 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
D | [12 empty] | Viability Score
| 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
E | [12 empty] | Viability Score
| 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
F | [12 empty] | Viability Score
| 0.0001 | 0.0001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | µg/mL Concentrations
| Chemical 1 | Chemical 1 | Chemical 2 | Chemical 2 | Chemical 3 | Chemical 3 | Chemical 4 | Chemical 4 | Chemical 5 | Chemical 5 | Chemical 6 | Chemical 6 | Sample ID
G | [12 empty] | Viability Score
| 0.00156 | 0.000391 | 9.77e-05 | 0 | 0 | 0 | 0.0025 | 0.0025 | 0.0025 | 0.00156 | 0.000391 | 9.77e-05 | µg/mL Concentrations
| Ral/E2 a | Ral/E2 a | Ral/E2 a | DMSO | DMSO | DMSO | E2 control | E2 control | E2 control | Ral/E2 b | Ral/E2 b | Ral/E2 b | Sample ID
H | [12 empty] | Viability Score
|  |  | Visual Observation Score | Visual Observations
|  |  | 1 | Normal Cell Morphology
|  |  | 2 | Low Level of Cell Toxicity
|  |  | 3 | Moderate Level of Cell Toxicity
|  |  | 4 | High level of Cell Toxicity
|  |  | P | Unable to View Cells Due to Precipitate